## Slide 1: Swab leeching
Chart: UTM
| SH-G | N
No swab | 30.6749 | 28.0251
Swab | 30.2165 | 26.7721
C(t)
2 ml of BD UTM was spiked or not with 106 PFU of RSV and aliquoted to 2 1.8 ml cryotubes.
One sterile swab tip was cut off into one tube.
Cryotubes were incubated at 4oC, 24 hr.
140 ml UTM from each tube was subjected to RNA isolation with Qiagen viral RNA mini kit, elution in 50 ml.
10 ul of RNA was used to make cDNA (iScript, BioRad) in a 20 ml final volume.
qRT-PCR was performed with 2 sets of RSV primers for the N gene and the SH-G intergenic region. 2 ml of cDNA per well, triplicate wells. 20 ml qRT-PCR using SensiFAST SYBRgreen kit (Bioline).
Shown are cycle thresholds (C(t)), where RSV RNA was detected.
N works better with swab?

## Slide 2: Swab leeching
Chart: genome
| Day 1 | Day 2 | Day 3
No swab | 27.3927 | 27.561 | 26.4834
EtOH | 27.0977 | 27.1902 | 26.9603
Autoclave | 27.1713 | 27.3789 | 26.8665
Chart: N
| Day 1 | Day 2 | Day 3
No swab | 24.7881 | 25.4079 | 24.5937
EtOH | 24.7998 | 25.3102 | 25.4023
Autoclave | 24.7986 | 25.4227 | 24.9579
Same experimental protocol as before, except using WHO VTM made in-house.
Testing 70% EtOH rinse versus autoclaving as sterilization method.
Triplicate swabs incubated in WHO VTM at 4oC for 1, 2, and 3 days.